## Sheet1
JarID: 11673
Target: At1g70830 (MLP28)
Spectrometer: Brahms
Temperature: 25C (307.1 set)
Experiment | O1 (Hz) | 1H increment (usec) | 1H carrier frequency indirect dim. (ppm) | 1H sweep width (Hz) | 1H acquisition mode | O2P (ppm) | 13C increment (usec) | 13C sweep width (Hz) | 13C acquisition mode | O3P (ppm) | 15N increment (usec) | 15N sweep width (Hz) | 15N acquisition mode | NOESY mixing time (msec) | NS | Time (hours) | Comments
1D | 2825 | [13 empty] | 128
15N HSQC | 2825 |  |  |  |  | 176 |  |  |  | 120 | 300 | 1666.6667 | Complex |  | 4 | 0.33
3D HNCO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 120 | 150 | 1666.6667 | States-TPPI |  | 2 | 6
3D HNCOCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 120 | 150 | 1666.6667 | States-TPPI |  | 2 | 6
3D HNCA | 2825 |  |  |  |  | 54 | 80 | 6250 | States-TPPI | 120 | 150 | 1666.6667 | States-TPPI |  | 4 | 12
3D HNCACB | 2825 |  |  |  |  | 43 | 40 | 12500 | States-TPPI | 120 | 150 | 1666.6667 | States-TPPI |  | 8 | 24.5
3D HNCACO | 2825 |  |  |  |  | 176 | 100 | 5000 | States-TPPI | 120 | 150 | 1666.6667 | States-TPPI |  | 8 | 24.5
3D HBHACONH | 2825 |  | 3 | 5000 | Complex | 43 |  |  |  | 120 | 150 | 1666.6667 | States-TPPI |  | 4 | 13.75
13C CT-HSQC aliphatic | 2825 |  |  |  |  | 43 | 80 | 6250 | Echo-AntiEcho | [5 empty] | 8 | 1
13C CT-HSQC aromatic | 2825 |  |  |  |  | 127 | 100 | 5000 | Echo-AntiEcho | [5 empty] | 16 | 1.33
Aromatic HSQC | 2825 |  |  |  |  | 127 | 100 | 5000 | Complex | [5 empty] | 4 | 0.33
3D CCONH | 2825 |  |  |  |  | 43 | 40 | 12500 | Complex | 120 | 300 | 1666.6667 | Echo-AntiEcho |  | 8 | 26.33
HCCH-TOCSY | 1800.39 |  | 3 | 5000 | Complex | 43 | 80 | 6250 | Complex | [5 empty] | 8 | 28.25
15N NOESY | 2825 | 70 | same as H2O | 7142.8571 | Complex | 70 |  |  |  | 120 | 300 | 1666.6667 | Complex | 80 | 4 | 24.33
13C NOESY aliphatic | 2825 | 70 | same as H2O | 7142.8571 | Complex | 43 | 80 | 6250 | Complex |  |  |  |  | 80 | 4 | 26.5
13C NOESY aromatic | 2825 | 70 | same as H2O | 7142.8571 | Complex | 70 | 100 | 5000 | Complex |  |  |  |  | 80 | 4 | 19.5
3D HCCONH | 2825 |  |  |  |  | 43 |  |  |  | 120 | 300 | 1666.6667 | Echo-AntiEcho |  | 8 | 29
15N hetNOE | 2825 | [8 empty] | 120 | 300 | 1666.6667 | Echo-AntiEcho |  | 16 | 24
[17 empty] | Total Time= | 267.65
[17 empty] | Days= | 11.1521
Base Frequencies | MHz
1H | 600.13
13C | 150.9024
15N | 60.8106